## Names
EQUITOTAL, Lda. |  |  |  |  | File: | Form4_Measurements.xlsx
|  | FIREPUMPS25 |  |  | Page: | Names
|  | TABLE / NAMES OF MEASUREMENTS |  |  | Date: | 2023.12.12
CODE | CHECK-LIST | GROUP | SUB-GROUP | ACTION | INDEX | LANG1 | NAME1 | LANG2 | NAME2
[A] | [B] | [C] | [D] | [E] | [F] | [G] | [H] | [I] | [J]
1 | 1 | 2 | 1 | 2 | 1 | PTG | Valor (bar): | ENG | Value (bar):
2 | 1 | 2 | 1 | 3 | 1 | PTG | Valor (bar): | ENG | Value (bar):
3 | 1 | 2 | 1 | 4 | 1 | PTG | Valor (bar): | ENG | Value (bar):
4 | 1 | 2 | 1 | 6 | 1 | PTG | Valor (bD): | ENG | Value (dB):
5 | 1 | 2 | 1 | 7 | 1 | PTG | X ou Horizontal (mm/s): | ENG | X or Horizontal (mm/s):
6 | 1 | 2 | 1 | 7 | 2 | PTG | Y ou Vertical (mm/s): | ENG | Y or Vertical (mm/s):
7 | 1 | 2 | 1 | 8 | 1 | PTG | Frontal (ºC): | ENG | Frontal (ºC):
8 | 1 | 2 | 1 | 8 | 2 | PTG | Traseiro (ºC): | ENG | Rear (ºC):
9 | 1 | 2 | 1 | 10 | 1 | PTG | Valor (bar): | ENG | Value (bar):
10 | 1 | 2 | 1 | 11 | 1 | PTG | Mais alta (bar): | ENG | Higher (bar):
11 | 1 | 2 | 1 | 11 | 2 | PTG | Mais baixa (bar): | ENG | Lower (bar):
12 | 1 | 2 | 2 | 1 | 1 | PTG | Valor (s): | ENG | Value (s):
13 | 1 | 2 | 2 | 2 | 1 | PTG | Valor (s): | ENG | Value (s):
14 | 1 | 2 | 2 | 3 | 1 | PTG | Valor (s): | ENG | Value (s):
15 | 1 | 2 | 3 | 1 | 1 | PTG | Valor (s): | ENG | Value (s):
16 | 1 | 2 | 3 | 2 | 1 | PTG | Valor (s): | ENG | Value (s):
17 | 1 | 2 | 3 | 3 | 1 | PTG | RPM (Após arranque): | ENG | RPM (After start):
18 | 1 | 2 | 3 | 3 | 2 | PTG | RPM (Após 10 min): | ENG | RPM (After 10 min):
19 | 1 | 2 | 3 | 3 | 3 | PTG | RPM (Após 15 min): | ENG | RPM (After 15 min):
20 | 1 | 2 | 3 | 3 | 4 | PTG | RPM (Após 20 min): | ENG | RPM (After 20 min):
21 | 1 | 2 | 3 | 3 | 5 | PTG | RPM (Após 25 min): | ENG | RPM (After 25 min):
22 | 1 | 2 | 3 | 3 | 6 | PTG | Pressão do Óleo (Após arranque): | ENG | Oil Pressure (After start):
23 | 1 | 2 | 3 | 3 | 7 | PTG | Pressão do Óleo (Após 10 min): | ENG | Oil Pressure (After 10 min):
24 | 1 | 2 | 3 | 3 | 8 | PTG | Pressão do Óleo (Após 15 min): | ENG | Oil Pressure (After 15 min):
25 | 1 | 2 | 3 | 3 | 9 | PTG | Pressão do Óleo (Após 20 min): | ENG | Oil Pressure (After 20 min):
26 | 1 | 2 | 3 | 3 | 10 | PTG | Pressão do Óleo (Após 25 min): | ENG | Oil Pressure (After 25 min):
27 | 1 | 2 | 3 | 3 | 11 | PTG | Temp. do Óleo (Após arranque): | ENG | Oil Temp. (After start):
28 | 1 | 2 | 3 | 3 | 12 | PTG | Temp. do Óleo (Após 10 min): | ENG | Oil Temp. (After 10 min):
29 | 1 | 2 | 3 | 3 | 13 | PTG | Temp. do Óleo (Após 15 min): | ENG | Oil Temp. (After 15 min):
30 | 1 | 2 | 3 | 3 | 14 | PTG | Temp. do Óleo (Após 20 min): | ENG | Oil Temp. (After 20 min):
31 | 1 | 2 | 3 | 3 | 15 | PTG | Temp. do Óleo (Após 25 min): | ENG | Oil Temp. (After 25 min):
32 | 1 | 2 | 3 | 3 | 16 | PTG | Pressão do Cooling Loop (Após arranque): | ENG | Cooling Loop Pressure (After start):
33 | 1 | 2 | 3 | 3 | 17 | PTG | Pressão do Cooling Loop (Após 10 min): | ENG | Cooling Loop Pressure (After 10 min):
34 | 1 | 2 | 3 | 3 | 18 | PTG | Pressão do Cooling Loop (Após 15 min): | ENG | Cooling Loop Pressure (After 15 min):
35 | 1 | 2 | 3 | 3 | 19 | PTG | Pressão do Cooling Loop (Após 20 min): | ENG | Cooling Loop Pressure (After 20 min):
36 | 1 | 2 | 3 | 3 | 20 | PTG | Pressão do Cooling Loop (Após 25 min): | ENG | Cooling Loop Pressure (After 25 min):
37 | 1 | 2 | 3 | 3 | 21 | PTG | Pressão da água (Após arranque): | ENG | Water Temp. (After start):
38 | 1 | 2 | 3 | 3 | 22 | PTG | Pressão da água (Após 10 min): | ENG | Water Temp. (After 10 min):
39 | 1 | 2 | 3 | 3 | 23 | PTG | Pressão da água (Após 15 min): | ENG | Water Temp. (After 15 min):
40 | 1 | 2 | 3 | 3 | 24 | PTG | Pressão da água (Após 20 min): | ENG | Water Temp. (After 20 min):
41 | 1 | 2 | 3 | 3 | 25 | PTG | Pressão da água (Após 25 min): | ENG | Water Temp. (After 25 min):
42 | 1 | 4 | 1 | 1 | 1 | PTG | 0% / Caudal medido (lpm): | ENG | 0% / Flow measured (lpm):
43 | 1 | 4 | 1 | 1 | 2 | PTG | 0% / Pressão de Descarga (bar): | ENG | 0% / Discharge Pressure (bar):
44 | 1 | 4 | 1 | 1 | 3 | PTG | 0% / Pressão de Aspiração (bar): | ENG | 0% / Suction Pressure (bar):
45 | 1 | 4 | 1 | 1 | 4 | PTG | 0% / RPM: | ENG | 0% / RPM:
46 | 1 | 4 | 1 | 1 | 5 | PTG | 0% / Tensão (V): | ENG | 0% / Voltage (V):
47 | 1 | 4 | 1 | 1 | 6 | PTG | 0% / Corrente (A): | ENG | 0% / Current (A):
48 | 1 | 4 | 1 | 1 | 7 | PTG | 100% / Caudal medido (lpm): | ENG | 100% / Flow measured (lpm):
49 | 1 | 4 | 1 | 1 | 8 | PTG | 100% / Pressão de Descarga (bar): | ENG | 100% / Discharge Pressure (bar):
50 | 1 | 4 | 1 | 1 | 9 | PTG | 100% / Pressão de Aspiração (bar): | ENG | 100% / Suction Pressure (bar):
51 | 1 | 4 | 1 | 1 | 10 | PTG | 100% / RPM: | ENG | 100% / RPM:
52 | 1 | 4 | 1 | 1 | 11 | PTG | 100% / Tensão (V): | ENG | 100% / Voltage (V):
53 | 1 | 4 | 1 | 1 | 12 | PTG | 100% / Corrente (A): | ENG | 100% / Current (A):
54 | 1 | 4 | 1 | 1 | 13 | PTG | 150% / Caudal medido (lpm): | ENG | 150% / Flow measured (lpm):
55 | 1 | 4 | 1 | 1 | 14 | PTG | 150% / Pressão de Descarga (bar): | ENG | 150% / Discharge Pressure (bar):
56 | 1 | 4 | 1 | 1 | 15 | PTG | 150% / Pressão de Aspiração (bar): | ENG | 150% / Suction Pressure (bar):
57 | 1 | 4 | 1 | 1 | 16 | PTG | 150% / RPM: | ENG | 150% / RPM:
58 | 1 | 4 | 1 | 1 | 17 | PTG | 150% / Tensão (V): | ENG | 150% / Voltage (V):
59 | 1 | 4 | 1 | 1 | 18 | PTG | 150% / Corrente (A): | ENG | 150% / Current (A):
60 | 1 | 4 | 1 | 2 | 1 | PTG | Horas: | ENG | Hours: